**STEINEL Professional Sensor-switched outdoor light**

**DL Vario Quattro PRO S**

**Neutral white white**

Dimensions (Ø x H): 310 x 69 mm; With lamp: Yes, STEINEL LED system; Manufacturer's Warranty: 5 years; Settings via: Potentiometers; With remote control: No; Version: Neutral white white; PU1, EAN: 4007841068196; Application, place: Outdoors; Application, room: corridor / aisle, function room / ancillary room, stairwell, outdoors, front door, courtyard & driveway, Indoors; Colour: white; Installation site: ceiling; Impact resistance: IK07; IP-rating: IP54; Protection class: II; Ambient temperature: from -20 up to 35 °C; Housing material: Plastic; Cover material: Plastic, structured; Mains power supply: 220 – 240 V / 50 – 60 Hz; Output: 14 W; Switching output 1, resistive: 500 W; Fluorescent lamps, electronic ballast: 500 W; Fluorescent lamps, uncorrected: 500 VA; Fluorescent lamps, series-corrected: 500 VA; Fluorescent lamps, parallel-corrected: 500 VA; Switching output 1, low-voltage halogen lamps: 500 VA; LED lamps < 2 W: 16 W; LED lamps > 2 W < 8 W: 64 W; LED lamps > 8 W: 64 W; Capacitive load in μF: 88 µF; Power consumption: 0,5 W; Mounting height max.: 6,00 m; Sneak-by guard: Yes; Capability of masking out individual segments: No; Electronic scalability: No; Mechanical scalability: Yes; Reach, detail: Reach adjustable from 2 - 8 m in 4 directions (90° in each); Reach, radial: 4 x 4 m (16 m²); Reach, tangential: 16 x 16 m (256 m²); Photo-cell controller: Yes; Luminous flux total product: 1430 lm; Measured luminos flux (360°): 1430 lm; Total product efficiency: 102 lm/W; Colour temperature: 4000 K; Colour variation LED: SDCM3; Lamp: LED cannot be replaced; LED life expectancy (max. °C): 50000 h; Service life LED L70B50 (25°): > 60000 h; Base: without; LED cooling system: Passive Thermo Control; Soft light start: Yes; Continuous light: selectable, 4h; Twilight setting: 2 – 1000 lx; Time setting: 5 sec – 30 min; Basic light level function: Yes; Basic light level function time: 10/30 min, all night; Twilight setting TEACH: No; Interconnection: Yes; Basic light level function in per cent: 10 %; Basic light level function percentage, from: 10 %; Interconnection via: Cable; Colour Rendering Index CRI: = 82; Optimum mounting height: 2,8 m; Detection angle: 360 °; Product category: Sensor-switched outdoor light

**Manufacturer** Steinel

**Prod. No.** 068196

**Ordering designation** DL Vario Quattro PRO S Neutral white white

Deliver, install and set ready for operation