STEINEL Professional Sensor-switched LED outdoor light

L 825 SC

Anthracite

Dimensions (L x W x H): 157 x 331 x 95 mm;With lamp: Yes, STEINEL LED system;Manufacturer's Warranty: 5 years;With remote control: No;Version: Anthracite;PU1, EAN: 4007841059903;Application, place: Outdoors;Application, room: outdoors, front door, all round the building, terrace / balcony, courtyard & driveway;Colour: Anthracite;includes sheet of self-adhesive numbers: No;Package content: 1;Installation site: wall;Impact resistance: IK03;IP-rating: IP44;Protection class: II;Ambient temperature: from -20 up to 40 °C;Housing material: Aluminium;Cover material: Plastic, opal;Mains power supply: 220 – 240 V / 50 – 60 Hz;Output: 9,7 W;Mounting height max.: 2,50 m;Slave modeselectable: No;Sneak-by guard: No;Capability of masking out individual segments: No;Electronic scalability: Yes;Mechanical scalability: No;Reach, detail: Detection zone adjustable on 2 axes;Reach, radial: r = 5 m (35 m²);Reach, tangential: r = 5 m (35 m²);Photo-cell controller: Yes;Transmitter range: 30 m;Transmitter power: < 1 mW;Luminous flux total product: 707 lm;Measured luminos flux (360°): 707 lm;Total product efficiency: 73 lm/W;Colour temperature: 3000 K;Lamp: LED cannot be replaced;Service life LED L70B50 (25°): > 60000 h;Base: without;LED cooling system: Active and Passive Thermo Control;Soft light start: Yes;Continuous light: individually adjustable via app;Functions: Group parameterisation, Manual ON / ON-OFF;Twilight setting: 2 – 2000 lx;Basic light level function: Yes;Basic light level function time: 10-30 min, all night;Main light adjustable: 10 - 100 %;Interconnection: Yes;Type of interconnection: Master/master;Basic light level function in per cent: 10 – 50 %;Basic light level function percentage, from: 10 %;Basic light level function percentage, up to: 50 %;Interconnection via: Bluetooth Mesh;Colour Rendering Index CRI: = 82;Optimum mounting height: 2 m;Detection angle: 160 °;Product category: Sensor-switched LED outdoor light

Manufacturer Steinel

Prod. No. 059903

Ordering designation L 825 SC Anthracite

Deliver, install and set ready for operation