**STEINEL Professional Accessory**

**Pushbutton coupler PC4-DALI-2**

**white**

Dimensions (L x W x H): 15 x 43 x 50 mm; Manufacturer's Warranty: 5 years; Settings via: App, Smartphone, Bus, Tablet; With remote control: No; Version: white; PU1, EAN: 4007841082123; Type: Lighting control set; Application, place: Indoors; Application, room: one-person office, open-plan office, hotel room, Indoors, classroom, conference room / meeting room, care room, stairwell; Colour: white; Includes corner wall mount: No; Installation site: wall, ceiling; Installation: Installation; Ambient temperature: -20 – 50 °C; Material: Plastic; Power supply, detail: DALI bus; Number of Dali users: 1; Functions: 4 inputs for conventional switches, Push button configuration, Selecting programmed lighting scenarios; Rated current: 2,7 mA

**Manufacturer** Steinel

**Prod. No.** 082123

**Ordering designation** Pushbutton coupler PC4-DALI-2 white

Deliver, install and set ready for operation