STEINEL Professional Multisensor

Multisensor True Presence

IP - surface V2

Dimensions (L x W x H): 142 x 142 x 45 mm;With motion detector: Yes;Manufacturer's Warranty: 5 years;Settings via: Bluetooth Mesh, Web-Interface;With remote control: No;Version: IP - surface;PU1, EAN: 4007841081850;Type: Presence detector;Application, place: Indoors;Application, room: open-plan office, hotel room, classroom, conference room / meeting room;Colour: white;Colour, RAL: 9003;Includes corner wall mount: No;Installation site: ceiling;Installation: Surface wiring;IP-rating: IP20;Ambient temperature: from 0 up to 50 °C;Material: Plastic;Power consumption: 1 W;Power supply, detail: Passive PoE SELV, standard PoE (IEEE 802.3 af);With bus coupling: Yes;Technology, sensors: Light sensor, High frequency, Air humidity, Air pressure, Temperature, VOC, Noise level, CO2;Mounting height: 2 – 12 m;Mounting height max.: 12,00 m;Optimum mounting height: 2,8 m;Montagehöhe max. True Presence Erfassung: 4,00 m;HF-system: 7,2 GHz;Detection: also through glass, wood and stud walls;Detection angle: 360 °;Angle of aperture: 160 °;Sneak-by guard: Yes;Capability of masking out individual segments: No;Electronic scalability: Yes;Mechanical scalability: No;Reach, radial: Ø 15 m (177 m²);Reach, tangential: Ø 15 m (177 m²);Reach, presence: Ø 15 m (177 m²);True Presence reach: Ø 9 m (64 m²);Transmitter power: < 10 mW;Functions: Motions sensor, Light sensor;Twilight setting: 2 – 2000 lx;Main light adjustable: Yes;Twilight setting TEACH: Yes;Interconnection: Yes;Interconnection via: Bluetooth Mesh;Product category: Multisensor

Manufacturer Steinel

Prod. No. 081850

Ordering designation Multisensor True Presence IP - surface

Deliver, install and set ready for operation