**STEINEL Professional System components**

**DALI64 KNX-S**

Dimensions (L x W x H): 90 x 71 x 58 mm; Manufacturer's Warranty: 5 years; PU1, EAN: 4007841089207; Colour: grey; IP-rating: IP20; Protection class: II; Ambient temperature: from -5 up to 45 °C; Material: Plastic; Mains power supply: 110 – 240 V / 50 – 60 Hz; With bus coupling: Yes; Product category: System components

**Manufacturer** Steinel

**Prod. No.** 089207

**Ordering designation** DALI64 KNX-S

Deliver, install and set ready for operation