**STEINEL Professional System components**

**P1280 KNX**

Dimensions (L x W x H): 90 x 108 x 58 mm; Manufacturer's Warranty: 5 years; PU1, EAN: 4007841085667; Colour: grey; IP-rating: IP20; Protection class: III; Ambient temperature: from -5 up to 45 °C; Mains power supply: 200 – 240 V / 50 – 60 Hz; Power consumption: 6,4 W; Rated current: 1280 mA; Product category: System components

**Manufacturer** Steinel

**Prod. No.** 085667

**Ordering designation** P1280 KNX

Deliver, install and set ready for operation