**STEINEL Professional System components**

**USB100 KNX**

Dimensions (L x W x H): 90 x 36 x 58 mm; Manufacturer's Warranty: 5 years; PU1, EAN: 4007841085674; Colour: grey; Protection class: II; Ambient temperature: from -5 up to 45 °C; Mains power supply: 21 – 32 V; Power supply, detail: KNX bus; Product category: System components

**Manufacturer** Steinel

**Prod. No.** 085674

**Ordering designation** USB100 KNX

Deliver, install and set ready for operation