**STEINEL Professional System components**

**UI8 KNX-S**

Manufacturer's Warranty: 5 years; PU1, EAN: 4007841089245; IP-rating: IP20; Protection class: III; Mains power supply: 21 – 32 V; Power supply, detail: KNX bus; With bus coupling: Yes; Product category: System components

**Manufacturer** Steinel

**Prod. No.** 089245

**Ordering designation** UI8 KNX-S

Deliver, install and set ready for operation