STEINEL Professional Motion detector

sensIQ S

COM1 - black EVO

Dimensions (L x W x H): 128 x 114 x 74 mm;With motion detector: Yes;With remote control: Yes;Version: COM1 - black;PU1, EAN: 4007841034979;Type: Motion detectors;Application, place: Outdoors, Indoors;Includes corner wall mount: Yes;Installation: Surface wiring;IP-rating: IP54;Ambient temperature: from -20 up to 50 °C;Material: Plastic;Mains power supply: 100 – 240 V / 50 – 60 Hz;Switching output 1, number of LEDs / fluorescent lamps: 50 pcs.;Fluorescent lamps, electronic ballast: 600 W;LED lamps < 2 W: 100 W;LED lamps > 2 W < 8 W: 300 W;LED lamps > 8 W: 600 W;Capacitive load in μF: 176 µF;Technology, sensors: passive infrared;Mounting height: 2 – 5 m;Mounting height max.: 5,00 m;Optimum mounting height: 2 m;Detection angle: 300 °;Angle of aperture: 90 °;Sneak-by guard: Yes;Capability of masking out individual segments: Yes;Electronic scalability: No;Mechanical scalability: Yes;Switching zones: 1360 switching zones;Twilight setting: 2 – 1000 lx;Time setting: 5 sec – 15 min;Basic light level function: No;Twilight setting TEACH: Yes;Constant-lighting control: No;Interconnection: Yes;Product category: Motion detector

Manufacturer Steinel

Prod. No. 034979

Ordering designation sensIQ S COM1 - black

Deliver, install and set ready for operation