STEINEL Professional Spare Part

Replacement Mini Sensor PRO

Anthracite

With motion detector: Yes;Settings via: Potentiometers;Version: Anthracite;PU1, EAN: 4007841090074;Colour: Anthracite;Package content: 1;Technology, sensors: passive infrared;Optimum mounting height: 2 m;Functions: 4 programme settings geared to practical needs, can be selected on removable sensor module;Twilight setting: 2 – 1000 lx;Time setting: 5 sec – 15 min;Basic light level function: Yes;Basic light level function time: 1-30 min, all night;Product category: Spare Part

Manufacturer Steinel

Prod. No. 090074

Ordering designation Replacement Mini Sensor PRO Anthracite

Deliver, install and set ready for operation