STEINEL Professional Presence detector

True Presence

COM2 - concealed white

Dimensions (L x W x H): 50 x 103 x 103 mm;With motion detector: Yes;Manufacturer's Warranty: 5 years;Settings via: Bluetooth Mesh;With remote control: No;Version: COM2 - concealed white;PU1, EAN: 4007841086244;Type: Presence detector;Application, place: Indoors;Application, room: classroom, lecture hall, one-person office, open-plan office, high-bay warehouse, production facilities, conference room / meeting room, hotel room, care room, duty room, recreation room, dining hall / staff restaurant, changing room, kitchenette, sports hall, reception / lobby, WC / washroom, warehouse, Indoors;Colour: white;Colour, RAL: 9003;Includes corner wall mount: No;Installation site: ceiling;Installation: Concealed wiring, Ceiling;IP-rating: IP20;Ambient temperature: from -20 up to 50 °C;Material: Plastic;Mains power supply: 220 – 240 V / 50 – 60 Hz;Switching output 1, resistive: 2000 W;Switching output 1, number of LEDs / fluorescent lamps: 8 pcs.;Switching output 1, floating: No;Switching output 2, resistive: 230 W;Switching output 2, floating: Yes;Switching output 1, low-voltage halogen lamps: 1000 VA;Power consumption: 1 W;Technology, sensors: High frequency, Light sensor;Mounting height: 2 – 12 m;Mounting height max.: 12,00 m;Optimum mounting height: 2,8 m;Montagehöhe max. True Presence Erfassung: 4,00 m;HF-system: 7,2 GHz;Detection angle: 360 °;Angle of aperture: 160 °;Sneak-by guard: Yes;Capability of masking out individual segments: No;Electronic scalability: Yes;Mechanical scalability: No;Reach, radial: Ø 15 m (177 m²);Reach, tangential: Ø 15 m (177 m²);Reach, presence: Ø 15 m (177 m²);True Presence reach: Ø 9 m (64 m²);Transmitter power: < 1 mW;Functions: Group parameterisation, Semi-/fully automatic, Lighting scenario, Manual ON / ON-OFF, Neighbouring group function, Normal / test mode;Twilight setting: 2 – 2000 lx;Time setting: 30 sec – 30 min;Basic light level function: No;Main light adjustable: Yes;Twilight setting TEACH: Yes;Constant-lighting control: No;Interconnection: Yes;Interconnection via: Bluetooth Mesh;Product category: Presence detector

Manufacturer Steinel

Prod. No. 086244

Ordering designation True Presence COM2 - concealed white

Deliver, install and set ready for operation