STEINEL Professional Presence detector

EO

IP - concealed black

Dimensions (L x W x H): 52 x 103 x 103 mm;Dimensions (Ø x H): 60 x 52 mm;With motion detector: Yes;Manufacturer's Warranty: 5 years;Settings via: Bluetooth Mesh, Web-Interface;With remote control: No;Version: IP - concealed black;PU1, EAN: 4007841091088;Type: Presence detector;Application, place: Indoors;Colour: black;Colour, RAL: 9005;Includes corner wall mount: No;Installation site: ceiling;Package content: 1;Installation: Concealed wiring;IP-rating: IP20;Material: Plastic;Mains power supply: 50 – 60 Hz;Power consumption: 1,2 W;Power supply, detail: Passive PoE SELV, standard PoE (IEEE 802.3 af);Technology, sensors: Air humidity, Temperature, Passive infrared - matrix;Mounting height: 2,5 – 3,5 m;Mounting height max.: 3,50 m;Optimum mounting height: 2,8 m;Detection angle: 360 °;Sneak-by guard: Yes;Capability of masking out individual segments: Yes;Electronic scalability: Yes;Mechanical scalability: No;Reach, tangential: 9.2 x 9.2 m (85 m²);Twilight setting TEACH: No;Constant-lighting control: No;Interconnection: Yes;Interconnection via: Bluetooth Mesh, LAN;Product category: Presence detector;Erfassungsfläche bei Montagehöhe: 2.5 m: 4.0 x 6.0 m (24 m²), <br/>3.0 m: 5.0 x 7.0 m (35 m²), <br/>3.5 m: 6.0 x 8.0 m (48 m²);Anzahl von Erfassungszonen: 10

Manufacturer Steinel

Prod. No. 091088

Ordering designation EO IP - concealed black

Deliver, install and set ready for operation