STEINEL Professional Motion detector

MD IR N270

uDIM - surface anthracite

Dimensions (L x W x H): 87 x 82 x 98 mm;With motion detector: Yes;Manufacturer's Warranty: 5 years;Settings via: Bluetooth, App;With remote control: No;Version: uDIM - surface anthracite;PU1, EAN: 4007841079857;Type: Motion detectors;Application, place: Outdoors;Colour: Anthracite;Colour, RAL: 7016;Includes corner wall mount: Yes;Installation: Surface wiring;IP-rating: IP54;Ambient temperature: from -20 up to 40 °C;Material: Plastic;Mains power supply: 50 – 60 Hz;Technology, sensors: passive infrared, Mixed light metering;Mounting height: 1,8 – 6,00 m;Mounting height max.: 6,00 m;Optimum mounting height: 2,5 m;Detection angle: 270 °;Sneak-by guard: Yes;Capability of masking out individual segments: Yes;Electronic scalability: Yes;Mechanical scalability: No;Reach, radial: r = 2.7 m (17 m²);Reach, tangential: r = 12.5 m (368 m²);Switching zones: 442 switching zones;Cover material: Cover clips;Twilight setting: 2 – 2000 lx;Time setting: 5 sec – 60 min;Basic light level function: Yes;Basic light level function time: 5s-60 min;Twilight setting TEACH: Yes;Constant-lighting control: No;Interconnection: Yes;Interconnection via: Bluetooth Mesh;Reichweite Radial Eagle Eye max.: 6 m;Product category: Motion detector

Manufacturer Steinel

Prod. No. 079857

Ordering designation MD IR N270 uDIM - surface anthracite

Deliver, install and set ready for operation