STEINEL Professional Presence detector

IR Quattro HD-2 24m

COM1 - in-ceiling installation white

Dimensions (L x W x H): 106 x 103 x 103 mm;Manufacturer's Warranty: 5 years;Settings via: Bluetooth Mesh, App, Potentiometers, Smartphone;With remote control: No;Version: COM1 - in-ceiling installation white;PU1, EAN: 4007841079406;Type: Presence detector;Application, place: Indoors;Application, room: lecture hall, classroom, open-plan office, high-bay warehouse, production facilities, conference room / meeting room, duty room, recreation room, changing room, reception / lobby, sports hall, multi-storey / underground car park, dining hall / staff restaurant, Indoors;Colour: white;Colour, RAL: 9003;Includes corner wall mount: No;Installation site: ceiling;Installation: In-ceiling installation, Ceiling;IP-rating: IP20;Ambient temperature: from -20 up to 50 °C;Material: Plastic;Mains power supply: 220 – 240 V / 50 – 60 Hz;Switching output 1, resistive: 2000 W;Switching output 1, number of LEDs / fluorescent lamps: 8 pcs.;Switching output 1, floating: No;Fluorescent lamps, electronic ballast: 1500 W;Fluorescent lamps, uncorrected: 1000 VA;Fluorescent lamps, series-corrected: 400 VA;Fluorescent lamps, parallel-corrected: 1000 VA;Switching output 1, low-voltage halogen lamps: 2000 VA;LED lamps

Manufacturer Steinel

Prod. No. 079406

Ordering designation IR Quattro HD-2 24m COM1 - in-ceiling installation white

Deliver, install and set ready for operation