STEINEL Professional Sensor-switched LED floodlight

XLED PRO Expanse S

with motion detector - white

Dimensions (L x W x H): 195 x 195 x 198 mm;With lamp: Yes, LED lamp;With motion detector: Yes;Manufacturer's Warranty: 5 years;Settings via: Potentiometers;Version: with motion detector - white;PU1, EAN: 4007841091217;Application, place: Outdoors;Application, room: garden, front door, courtyard & driveway, warehouse, all round the building, sports hall, terrace / balcony;Colour: white;Includes corner wall mount: No;Installation site: wall;Installation: Surface wiring, Wall;Impact resistance: IK03;IP-rating: IP54;Protection class: II;Ambient temperature: from -20 up to 40 °C;Housing material: Polycarbonate;Mains power supply: 220 – 240 V / 50 – 60 Hz;Mounting height max.: 6,00 m;Sneak-by guard: Yes;Capability of masking out individual segments: Yes;Electronic scalability: No;Mechanical scalability: No;Photo-cell controller: Yes;Luminous flux total product: 1642 lm;Measured luminos flux (360°): 1642 lm;Total product efficiency: 115 lm/W;Colour temperature: 3000 K;Service life LED L70B50 (25°): > 60000 h;Soft light start: No;Functions: Motions sensor, Light sensor;Twilight setting: 2 – 2000 lx;Time setting: 10 sec – 15 min;Basic light level function: No;Main light adjustable: No;Twilight setting TEACH: No;Interconnection: Yes;Type of interconnection: Master/master, Sensor/slave;Interconnection via: Cable;Output: 14,3 W;R9-Farbwiedergabeindex: 18;Optimum mounting height: 2 m;Detection angle: 240 °;Product category: Sensor-switched LED floodlight;Energy efficiency class of light source: E

Manufacturer Steinel

Prod. No. 091217

Ordering designation XLED PRO Expanse S with motion detector - white

Deliver, install and set ready for operation