STEINEL Professional Air-quality sensor

Multisensor Air

IP - concealed

With motion detector: No;Manufacturer's Warranty: 5 years;Settings via: Smartphone, Tablet, Bluetooth Mesh;With remote control: No;Version: IP - concealed;PU1, EAN: 4007841091781;Type: Other;Application, place: Indoors;Application, room: open-plan office, hotel room, classroom, conference room / meeting room;Includes corner wall mount: No;Installation site: ceiling;Installation: Concealed wiring, Ceiling;IP-rating: IP20;Ambient temperature: from 0 up to 50 °C;Material: Plastic;Technology, sensors: CO2, Noise level, Air pressure, Air humidity, Light sensor, Temperature, VOC;Mounting height: 2 – 12 m;Mounting height max.: 12,00 m;Optimum mounting height: 2,8 m;Twilight setting: 2 – 2000 lx;Main light adjustable: Yes;Twilight setting TEACH: Yes;Interconnection: Yes;Interconnection via: Bluetooth Mesh;Product category: Air-quality sensor

Manufacturer Steinel

Prod. No. 091781

Ordering designation Multisensor Air IP - concealed

Deliver, install and set ready for operation