STEINEL DIY E27 Sensor-switched outdoor light

L 10 S

black

Dimensions (L x W x H): 224 x 175 x 255 mm;With lamp: No;Manufacturer's Warranty: 3 years;Settings via: Potentiometers;With remote control: No;Version: black;PU1, EAN: 4007841084769;Application, place: Outdoors;Application, room: front door, courtyard & driveway, all round the building, terrace / balcony;Colour: black;includes sheet of self-adhesive numbers: No;Package content: 1;Installation site: wall;Impact resistance: IK03;IP-rating: IP44;Protection class: II;Ambient temperature: from -20 up to 40 °C;Housing material: Plastic;Cover material: Plastic, structured;Mains power supply: 220 – 240 V / 50 – 60 Hz;Output: 15 W;Fluorescent lamps, electronic ballast: 1000 W;Fluorescent lamps, uncorrected: 500 VA;Fluorescent lamps, series-corrected: 500 VA;Fluorescent lamps, parallel-corrected: 500 VA;Switching output 1, low-voltage halogen lamps: 1000 VA;LED lamps < 2 W: 16 W;LED lamps > 2 W < 8 W: 64 W;LED lamps > 8 W: 64 W;Capacitive load in μF: 132 µF;Mounting height max.: 3,00 m;Slave modeselectable: No;Reach, radial: r = 3 m (14 m²);Reach, tangential: r = 7.5 m (88 m²);Photo-cell controller: Yes;Cover material: Cover clips;Lamp: All-purpose lamp;Base: E27;Functions: Motions sensor;Twilight setting: 2 – 2000 lx;Time setting: 5 sec – 60 min;Basic light level function: No;Main light adjustable: No;Twilight setting TEACH: No;Interconnection: Yes;Interconnection via: Cable;Optimum mounting height: 2,5 m;Detection angle: 180 °;Product category: E27 Sensor-switched outdoor light

Manufacturer Steinel

Prod. No. 084769

Ordering designation L 10 S black

Deliver, install and set ready for operation