STEINEL DIY Outdoor light without sensor

L 10

black

Dimensions (L x W x H): 224 x 175 x 242 mm;With lamp: No;Manufacturer's Warranty: 3 years;With remote control: No;Version: black;PU1, EAN: 4007841084752;Application, place: Outdoors;Application, room: front door, courtyard & driveway, all round the building, terrace / balcony;Colour: black;includes sheet of self-adhesive numbers: No;Package content: 1;Installation site: wall;Impact resistance: IK03;IP-rating: IP44;Protection class: II;Ambient temperature: from -20 up to 40 °C;Housing material: Plastic;Cover material: Plastic, structured;Mains power supply: 220 – 240 V / 50 – 60 Hz;Output: 15 W;Fluorescent lamps, electronic ballast: 1000 W;Fluorescent lamps, uncorrected: 500 VA;Fluorescent lamps, series-corrected: 500 VA;Fluorescent lamps, parallel-corrected: 500 VA;LED lamps < 2 W: 16 W;LED lamps > 2 W < 8 W: 64 W;LED lamps > 8 W: 64 W;Capacitive load in μF: 132 µF;Photo-cell controller: No;Lamp: All-purpose lamp;Base: E27;Basic light level function: No;Interconnection: Yes;Interconnection via: Cable;Product category: Outdoor light without sensor

Manufacturer Steinel

Prod. No. 084752

Ordering designation L 10 black

Deliver, install and set ready for operation