STEINEL DIY Outdoor light without sensor

L 12

Anthracite

Dimensions (L x W x H): 108 x 155 x 272 mm;With lamp: No;Manufacturer's Warranty: 3 years;With remote control: No;Version: Anthracite;PU1, EAN: 4007841069155;Application, place: Outdoors;Application, room: outdoors, front door, courtyard & driveway, terrace / balcony;Colour: Anthracite;includes sheet of self-adhesive numbers: No;Package content: 1;Installation site: wall;Impact resistance: IK03;IP-rating: IP44;Protection class: II;Ambient temperature: from -20 up to 40 °C;Housing material: Aluminium;Cover material: Plastic, opal;Mains power supply: 230 – 240 V / 50 Hz;Output: 60 W;Mounting height max.: 3,00 m;Slave modeselectable: No;Photo-cell controller: No;Lamp: All-purpose lamp;Base: E27;Soft light start: No;Basic light level function: No;Main light adjustable: No;Twilight setting TEACH: No;Interconnection: No;Optimum mounting height: 2 m;Product category: Outdoor light without sensor

Manufacturer Steinel

Prod. No. 069155

Ordering designation L 12 Anthracite

Deliver, install and set ready for operation