STEINEL DIY E27 Sensor-switched outdoor light

L 14 S

with motion detector

Dimensions (L x W x H): 125 x 125 x 275 mm;With lamp: No;Manufacturer's Warranty: 3 years;Settings via: Potentiometers;With remote control: No;Version: with motion detector;PU1, EAN: 4007841094263;Application, place: Outdoors;Application, room: outdoors;Colour: Anthracite;Colour, RAL: 7016;Installation site: wall;Impact resistance: IK05;IP-rating: IP44;Protection class: II;Ambient temperature: from -20 up to 40 °C;Housing material: Plastic;Cover material: PMMA, opal;Mains power supply: 230 – 240 V / 50 Hz;Output: 15 W;Mounting height max.: 3,00 m;Slave modeselectable: No;Capability of masking out individual segments: Yes;Electronic scalability: No;Mechanical scalability: No;Reach, radial: r = 3 m (14 m²);Reach, tangential: r = 10 m (157 m²);Photo-cell controller: Yes;Cover material: sticker;Base: E27;Soft light start: No;Functions: Motions sensor, Light sensor;Twilight setting: 2 – 2000 lx;Time setting: 8 sec – 35 min;Basic light level function: No;Main light adjustable: No;Twilight setting TEACH: No;Interconnection: Yes;Type of interconnection: Sensor/slave;Interconnection via: Cable;Optimum mounting height: 2 m;Detection angle: 180 °;Product category: E27 Sensor-switched outdoor light

Manufacturer Steinel

Prod. No. 094263

Ordering designation L 14 S with motion detector

Deliver, install and set ready for operation