STEINEL DIY E27 Sensor-switched outdoor light

L 190 S

white

Dimensions (L x W x H): 147 x 217 x 335 mm;With lamp: No;Manufacturer's Warranty: 3 years;Settings via: Potentiometers;With remote control: No;Version: white;PU1, EAN: 4007841644512;Application, place: Outdoors;Application, room: outdoors, front door, all round the building, terrace / balcony, courtyard & driveway;Colour: white;Package content: 1;Installation site: wall;Impact resistance: IK03;IP-rating: IP44;Protection class: II;Ambient temperature: from -20 up to 40 °C;Housing material: Aluminium;Cover material: Glass transparent;Mains power supply: 230 – 240 V / 50 Hz;Output: 100 W;Power consumption: 0,8 W;Mounting height max.: 4,00 m;Slave modeselectable: No;Sneak-by guard: Yes;Capability of masking out individual segments: Yes;Electronic scalability: No;Mechanical scalability: No;Reach, radial: r = 5 m (39 m²);Reach, tangential: r = 12 m (226 m²);Photo-cell controller: Yes;Cover material: shrouds;Lamp: All-purpose lamp;Base: E27;Soft light start: Yes;Continuous light: selectable, 4h;Twilight setting: 2 – 200 lx;Time setting: 5 sec – 15 min;Basic light level function: Yes;Interconnection: No;Basic light level function in per cent: 0 – 50 %;Basic light level function percentage, from: 0 %;Basic light level function percentage, up to: 50 %;Optimum mounting height: 2 m;Detection angle: 180 °;Product category: E27 Sensor-switched outdoor light

Manufacturer Steinel

Prod. No. 644512

Ordering designation L 190 S white

Deliver, install and set ready for operation