STEINEL DIY Outdoor light without sensor

L 22

Anthracite

Dimensions (L x W x H): 81 x 162 x 280 mm;With lamp: No;Manufacturer's Warranty: 3 years;With remote control: No;Version: Anthracite;PU1, EAN: 4007841069254;Application, place: Outdoors;Application, room: outdoors, front door, all round the building, terrace / balcony, courtyard & driveway;Colour: Anthracite;includes sheet of self-adhesive numbers: No;Package content: 1;Installation site: wall;Impact resistance: IK07;IP-rating: IP44;Protection class: II;Ambient temperature: from -20 up to 40 °C;Housing material: Stainless steel;Cover material: Plastic, opal;Mains power supply: 220 – 240 V / 50 – 60 Hz;Output: 60 W;Mounting height max.: 3,00 m;Photo-cell controller: No;Lamp: All-purpose lamp;Base: E27;Soft light start: No;Basic light level function: No;Interconnection: No;Optimum mounting height: 2 m;Product category: Outdoor light without sensor

Manufacturer Steinel

Prod. No. 069254

Ordering designation L 22 Anthracite

Deliver, install and set ready for operation