STEINEL DIY Photo-cell-controlled light

L 22 N

Anthracite

Dimensions (L x W x H): 81 x 162 x 280 mm;With lamp: No;Manufacturer's Warranty: 3 years;Settings via: Potentiometers;With remote control: No;Version: Anthracite;PU1, EAN: 4007841065782;Application, place: Outdoors;Application, room: outdoors, front door, all round the building, terrace / balcony, courtyard & driveway;Colour: Anthracite;includes sheet of self-adhesive numbers: No;Package content: 1;Installation site: wall;Impact resistance: IK07;IP-rating: IP44;Protection class: II;Ambient temperature: from -20 up to 40 °C;Housing material: Stainless steel;Cover material: Plastic, opal;Mains power supply: 220 – 240 V / 50 – 60 Hz;Output: 60 W;Slave modeselectable: No;Sneak-by guard: No;Capability of masking out individual segments: No;Electronic scalability: No;Mechanical scalability: No;Photo-cell controller: Yes;Lamp: All-purpose lamp;Base: E27;Soft light start: No;Twilight setting: 2 – 50 lx;Basic light level function: No;Twilight setting TEACH: No;Interconnection: No;Product category: Photo-cell-controlled light

Manufacturer Steinel

Prod. No. 065782

Ordering designation L 22 N Anthracite

Deliver, install and set ready for operation