STEINEL DIY Solar light

XSolar LH-N

Stainless steel

Dimensions (L x W x H): 50 x 242 x 227 mm;With lamp: Yes, STEINEL LED system;With motion detector: No;Manufacturer's Warranty: 3 years;Settings via: Potentiometers;Version: Stainless steel;PU1, EAN: 4007841007140;Application, place: Outdoors;Application, room: outdoors, front door, courtyard & driveway;Colour: Stainless steel;includes sheet of self-adhesive numbers: Yes;Installation site: wall;Impact resistance: IK03;IP-rating: IP44;Protection class: III;Ambient temperature: from -20 up to 40 °C;Housing material: Stainless steel;Cover material: Plastic, opal;Power supply, detail: Solar supply, no mains power required, Lithium-iron-phosphate rechargeable battery 2500 mAh;Photo-cell controller: Yes;Colour temperature: 4000 K;Colour variation LED: SDCM5;Colour Rendering Index: 80-89;Lamp: LED cannot be replaced;LED life expectancy (max. °C): 50000 h;Drop in luminous flux in accordance with LM80: L70B10;LED cooling system: Passive Thermo Control;Soft light start: No;Functions: Light sensor;Twilight setting: 2 lx;Basic light level function: Yes;Basic light level function time: all night;Output: 0,03 W;Battery charge: ab 0°;Akku-Funktion: ab - 20;Product category: Solar light

Manufacturer Steinel

Prod. No. 007140

Ordering designation XSolar LH-N Stainless steel

Deliver, install and set ready for operation