STEINEL DIY Motion detector

IS 240 DUO

black

Dimensions (L x W x H): 100 x 60 x 90 mm;Manufacturer's Warranty: 3 years;Settings via: Potentiometers;With remote control: No;Version: black;PU1, EAN: 4007841602710;Type: Motion detectors;Application, place: Indoors, Outdoors;Application, room: outdoors, front door, all round the building, terrace / balcony, courtyard & driveway;Colour: black;Colour, RAL: 9005;Includes corner wall mount: Yes;Installation site: wall, corner;Package content: 1;Installation: Surface wiring, Wall, corner;IP-rating: IP54;Protection class: II;Ambient temperature: from -20 up to 50 °C;Material: Plastic;Mains power supply: 230 V / 50 Hz;Switching output 1, resistive: 1000 W;Fluorescent lamps, electronic ballast: 350 W;Fluorescent lamps, uncorrected: 500 VA;Fluorescent lamps, series-corrected: 500 VA;Fluorescent lamps, parallel-corrected: 500 VA;Switching output 1, low-voltage halogen lamps: 1000 VA;LED lamps < 2 W: 100 W;LED lamps > 2 W < 8 W: 175 W;LED lamps > 8 W: 350 W;Capacitive load in μF: 132 µF;Technology, sensors: passive infrared, Light sensor;Mounting height: 1,80 – 4,00 m;Mounting height max.: 4,00 m;Optimum mounting height: 2 m;Detection angle: 240 °;Angle of aperture: 180 °;Sneak-by guard: Yes;Capability of masking out individual segments: Yes;Electronic scalability: No;Mechanical scalability: No;Reach, radial: r = 5 m (52 m²);Reach, tangential: r = 12 m (302 m²);Switching zones: 276 switching zones;Twilight setting: 2 – 2000 lx;Time setting: 10 sec – 15 min;Basic light level function: No;Main light adjustable: No;Twilight setting TEACH: No;Constant-lighting control: No;Interconnection: Yes;Type of interconnection: Master/master;Interconnection via: Cable;Product category: Motion detector

Manufacturer Steinel

Prod. No. 602710

Ordering designation IS 240 DUO black

Deliver, install and set ready for operation