STEINEL DIY Motion detector

IS 360-3

white

Dimensions (Ø x H): 121 x 57 mm;Manufacturer's Warranty: 3 years;Settings via: Potentiometers;With remote control: No;Version: white;PU1, EAN: 4007841006532;Type: Motion detectors;Application, place: Outdoors, Indoors;Application, room: outdoors, all round the building, Indoors;Colour: white;Colour, RAL: 9010;Includes corner wall mount: No;Installation site: ceiling;Package content: 1;Installation: Surface wiring, Ceiling;IP-rating: IP54;Protection class: II;Ambient temperature: from -20 up to 50 °C;Material: Plastic;Mains power supply: 220 – 240 V / 50 – 60 Hz;Switching output 1, resistive: 2000 W;Fluorescent lamps, electronic ballast: 400 W;Fluorescent lamps, uncorrected: 500 VA;Fluorescent lamps, series-corrected: 900 VA;Fluorescent lamps, parallel-corrected: 400 VA;Switching output 1, low-voltage halogen lamps: 2000 VA;LED lamps < 2 W: 100 W;LED lamps > 2 W < 8 W: 200 W;LED lamps > 8 W: 400 W;Capacitive load in μF: 176 µF;Technology, sensors: passive infrared, Mixed light metering;Voltage range (min): 220 V;Voltage range (max): 240 V;Mounting height: 2,50 – 6,00 m;Mounting height max.: 6,00 m;Optimum mounting height: 2,8 m;Detection angle: 360 °;Angle of aperture: 90 °;Sneak-by guard: Yes;Capability of masking out individual segments: Yes;Electronic scalability: No;Mechanical scalability: No;Reach, radial: Ø 6 m (28 m²);Reach, tangential: Ø 24 m (452 m²);Switching zones: 972 switching zones;Twilight setting: 2 – 1000 lx;Time setting: 5 sec – 15 min;Basic light level function: No;Main light adjustable: No;Twilight setting TEACH: No;Constant-lighting control: No;Interconnection: Yes;Type of interconnection: Master/master;Interconnection via: Cable;Product category: Motion detector

Manufacturer Steinel

Prod. No. 006532

Ordering designation IS 360-3 white

Deliver, install and set ready for operation