STEINEL DIY Photoelectric lighting controller

NightmatIQ

Anthracite

Dimensions (L x W x H): 38 x 95 x 95 mm;With motion detector: No;Manufacturer's Warranty: 3 years;Settings via: Potentiometers;Version: Anthracite;PU1, EAN: 4007841066130;Type: Photo-cell controller;Application, place: Outdoors;Application, room: outdoors, front door, courtyard & driveway, Indoors, all round the building, terrace / balcony;Colour: Anthracite;Installation site: wall;Installation: Surface wiring, Wall;IP-rating: IP54;Ambient temperature: from -20 up to 40 °C;Material: Plastic;Mains power supply: 220 – 240 V / 50 – 60 Hz;Switching output 1, resistive: 1000 W;Fluorescent lamps, electronic ballast: 250 W;Power consumption: 0,7 W;Technology, sensors: Light sensor;Twilight setting: 1 – 75 lx;Interconnection: Yes;Interconnection via: Cable;Product category: Photoelectric lighting controller

Manufacturer Steinel

Prod. No. 066130

Ordering designation NightmatIQ Anthracite

Deliver, install and set ready for operation