STEINEL DIY Photoelectric lighting controller

NightmatIQ Plus

white

Dimensions (L x W x H): 38 x 95 x 95 mm;With motion detector: No;Manufacturer's Warranty: 3 years;Settings via: Bluetooth Mesh, App, Smartphone;With remote control: No;Version: white;PU1, EAN: 4007841066123;Type: Photo-cell controller;Application, place: Outdoors;Application, room: outdoors, front door, courtyard & driveway, Indoors, all round the building, terrace / balcony;Colour: white;Installation site: wall;Installation: Surface wiring, Wall;IP-rating: IP54;Ambient temperature: from -20 up to 40 °C;Material: Plastic;Mains power supply: 220 – 240 V / 50 – 60 Hz;Switching output 1, resistive: 1000 W;Fluorescent lamps, electronic ballast: 250 W;Power consumption: 0,5 W;Technology, sensors: Light sensor;Functions: light ON / OFF in the morning, Night economy mode, Timer;Twilight setting: 1 – 1000 lx;Basic light level function: No;Twilight setting TEACH: Yes;Constant-lighting control: No;Interconnection: Yes;Type of interconnection: Master/master, Master/slave;Interconnection via: Bluetooth Mesh;Product category: Photoelectric lighting controller

Manufacturer Steinel

Prod. No. 066123

Ordering designation NightmatIQ Plus white

Deliver, install and set ready for operation