STEINEL DIY Photoelectric lighting controller

NightMatic 2000

white

Dimensions (L x W x H): 37 x 74 x 99 mm;Manufacturer's Warranty: 3 years;Settings via: Potentiometers;Version: white;PU1, EAN: 4007841550417;Type: Photo-cell controller;Application, place: Outdoors;Application, room: outdoors, front door, all round the building, terrace / balcony, courtyard & driveway;Colour: white;Colour, RAL: 9010;Includes corner wall mount: No;Installation site: wall;Package content: 1;Installation: Surface wiring, Wall;IP-rating: IP54;Ambient temperature: from -20 up to 50 °C;Material: Plastic;Mains power supply: 230 – 240 V / 50 Hz;Switching output 1, resistive: 1000 W;Switching output 1, number of LEDs / fluorescent lamps: 4 pcs.;Fluorescent lamps, uncorrected: 500 VA;Capacitive load in μF: 88 µF;Power consumption: 0,8 W;Technology, sensors: Mixed light metering;Twilight setting: 2 – 30 lx;Basic light level function: No;Main light adjustable: No;Twilight setting TEACH: No;Constant-lighting control: No;Interconnection: Yes;Type of interconnection: Master/master;Interconnection via: Cable;Product category: Photoelectric lighting controller

Manufacturer Steinel

Prod. No. 550417

Ordering designation NightMatic 2000 white

Deliver, install and set ready for operation