STEINEL DIY Photoelectric lighting controller

NightMatic 3000 Vario

black

Dimensions (L x W x H): 37 x 74 x 99 mm;Manufacturer's Warranty: 3 years;Settings via: Potentiometers;Version: black;PU1, EAN: 4007841550516;Type: Photo-cell controller;Application, place: Outdoors;Application, room: outdoors, front door, all round the building, terrace / balcony, courtyard & driveway;Colour: black;Colour, RAL: 9005;Includes corner wall mount: No;Installation site: wall;Package content: 1;Installation: Surface wiring, Wall;IP-rating: IP54;Ambient temperature: from -20 up to 50 °C;Material: Plastic;Mains power supply: 230 – 240 V / 50 Hz;Switching output 1, resistive: 1000 W;Switching output 1, number of LEDs / fluorescent lamps: 4 pcs.;Fluorescent lamps, electronic ballast: 600 W;Fluorescent lamps, uncorrected: 500 VA;Fluorescent lamps, series-corrected: 500 VA;Fluorescent lamps, parallel-corrected: 500 VA;Switching output 1, low-voltage halogen lamps: 1000 VA;LED lamps < 2 W: 16 W;LED lamps > 2 W < 8 W: 64 W;LED lamps > 8 W: 64 W;Capacitive load in μF: 88 µF;Power consumption: 0,8 W;Technology, sensors: Light sensor;Functions: Night economy mode, light ON / OFF in the morning;Twilight setting: 0,5 – 10 lx;Basic light level function: No;Main light adjustable: No;Twilight setting TEACH: Yes;Constant-lighting control: No;Interconnection: Yes;Type of interconnection: Master/master;Interconnection via: Cable;Product category: Photoelectric lighting controller

Manufacturer Steinel

Prod. No. 550516

Ordering designation NightMatic 3000 Vario black

Deliver, install and set ready for operation