STEINEL DIY Sensor-switched LED outdoor light

GL 60 S

With lamp: Yes;Manufacturer's Warranty: 3 years;Settings via: Potentiometers;With remote control: No;PU1, EAN: 4007841007881;Application, place: Outdoors;Application, room: outdoors, all round the building, garden, terrace / balcony, courtyard & driveway;Colour: Silver;includes sheet of self-adhesive numbers: No;Package content: 1;Installation site: Stand mounted;Impact resistance: IK03;IP-rating: IP44;Protection class: II;Ambient temperature: from -20 up to 50 °C;Housing material: Stainless steel;Cover material: Glass opal;Mains power supply: 230 – 240 V / 50 Hz;Output: 9,78 W;Slave modeselectable: No;Sneak-by guard: Yes;Capability of masking out individual segments: Yes;Electronic scalability: No;Mechanical scalability: No;Reach, radial: Ø 12 m (113 m²);Reach, tangential: Ø 24 m (452 m²);Photo-cell controller: Yes;Cover material: shrouds;Luminous flux total product: 781 lm;Measured luminos flux (360°): 781 lm;Total product efficiency: 79,9 lm/W;Colour temperature: 3000 K;Colour variation LED: SDCM6;Lamp: LED can be replaced;LED life expectancy (max. °C): 25000 h;Service life LED L70B50 (25°): > 20000 h;Base: E27;LED cooling system: Passive Thermo Control;Soft light start: Yes;Continuous light: selectable, 4h;Twilight setting: 2 – 2000 lx;Time setting: 5 sec – 15 min;Basic light level function: Yes;Interconnection: No;Basic light level function in per cent: 10 – 50 %;Basic light level function percentage, from: 10 %;Basic light level function percentage, up to: 50 %;Colour Rendering Index CRI: = 82;Detection angle: 360 °;Product category: Sensor-switched LED outdoor light

Manufacturer Steinel

Prod. No. 007881

Ordering designation GL 60 S

Deliver, install and set ready for operation