STEINEL DIY Outdoor light without sensor

GL 80 C

without motion detector, with Bluetooth

Dimensions (L x W x H): 161 x 110 x 633 mm;With lamp: Yes, STEINEL LED system;Manufacturer's Warranty: 3 years;With remote control: No;Version: without motion detector, with Bluetooth;PU1, EAN: 4007841079284;Application, place: Outdoors;Application, room: garden, front door, courtyard & driveway, all round the building, terrace / balcony;Colour: Anthracite;includes sheet of self-adhesive numbers: No;Package content: 1;Installation site: Stand mounted;Impact resistance: IK03;IP-rating: IP44;Protection class: I;Housing material: Plastic;Cover material: Plastic, opal;Mains power supply: 220 – 240 V / 50 – 60 Hz;Output: 9,1 W;Luminous flux total product: 650 lm;Measured luminos flux (360°): 650 lm;Total product efficiency: 71 lm/W;Colour temperature: 3000 K;Lamp: LED cannot be replaced;Service life LED L70B50 (25°): > 60000 h;Interconnection via: Bluetooth;Colour Rendering Index CRI: = 82;Product category: Outdoor light without sensor

Manufacturer Steinel

Prod. No. 079284

Ordering designation GL 80 C without motion detector, with Bluetooth

Deliver, install and set ready for operation