STEINEL DIY Sensor-switched LED outdoor light

L 260 S

Dimensions (L x W x H): 177 x 102 x 426 mm;With lamp: Yes, LED lamp;Manufacturer's Warranty: 3 years;Settings via: Potentiometers;With remote control: No;PU1, EAN: 4007841007874;Application, place: Outdoors;Application, room: outdoors, front door, all round the building, terrace / balcony, courtyard & driveway;Colour: Silver;Package content: 1;Installation site: wall;Impact resistance: IK03;IP-rating: IP44;Protection class: I;Ambient temperature: from -20 up to 50 °C;Housing material: Stainless steel;Cover material: Glass opal;Mains power supply: 230 – 240 V / 50 Hz;Output: 9,87 W;Mounting height max.: 6,00 m;Slave modeselectable: No;Sneak-by guard: Yes;Capability of masking out individual segments: Yes;Electronic scalability: No;Mechanical scalability: No;Reach, radial: r = 6 m (75 m²);Reach, tangential: r = 12 m (302 m²);Photo-cell controller: Yes;Cover material: shrouds;Luminous flux total product: 703 lm;Measured luminos flux (360°): 703 lm;Total product efficiency: 71,2 lm/W;Colour temperature: 3000 K;Colour variation LED: SDCM3;Lamp: LED can be replaced;LED life expectancy (max. °C): 25000 h;Base: E27;LED cooling system: Passive Thermo Control;Soft light start: Yes;Continuous light: selectable, 4h;Twilight setting: 2 – 2000 lx;Time setting: 5 sec – 15 min;Basic light level function: No;Interconnection: No;Colour Rendering Index CRI: = 82;Optimum mounting height: 2 m;Detection angle: 240 °;Product category: Sensor-switched LED outdoor light

Manufacturer Steinel

Prod. No. 007874

Ordering designation L 260 S

Deliver, install and set ready for operation