STEINEL DIY LED outdoor light without sensor

L 40 C

without motion detector, with Bluetooth

Dimensions (L x W x H): 105 x 201 x 229 mm;With lamp: Yes, STEINEL LED system;Manufacturer's Warranty: 3 years;Settings via: Smartphone, Tablet, Bluetooth Mesh;With remote control: No;Version: without motion detector, with Bluetooth;PU1, EAN: 4007841085230;Application, place: Outdoors;Application, room: outdoors, front door, all round the building, terrace / balcony;Colour: Anthracite;includes sheet of self-adhesive numbers: No;Package content: 1;Installation site: wall;Impact resistance: IK03;IP-rating: IP54;Protection class: I;Ambient temperature: from -20 up to 40 °C;Housing material: Aluminium;Cover material: Plastic, opal;Mains power supply: 220 – 240 V / 50 – 60 Hz;Output: 12,9 W;Average rated life expectancy of power supply unit at 25°C: > 60000 h;Photo-cell controller: Yes;Luminous flux total product: 869 lm;Measured luminos flux (360°): 869 lm;Colour temperature: 3000 K;Lamp: LED cannot be replaced;Service life LED L70B50 (25°): > 60000 h;Base: without;LED cooling system: Passive Thermo Control;Soft light start: Yes;Continuous light: selectable;Basic light level function: Yes;Basic light level function, detail: only in combination with the SC version;Main light adjustable: 5 - 100 %;Twilight setting TEACH: Yes;Interconnection: Yes;Type of interconnection: Master/master, Master/slave;Basic light level function in per cent: 10 – 100 %;Basic light level function percentage, from: 10 %;Basic light level function percentage, up to: 100 %;Interconnection via: Bluetooth Mesh;Colour Rendering Index CRI: = 82;Product category: LED outdoor light without sensor

Manufacturer Steinel

Prod. No. 085230

Ordering designation L 40 C without motion detector, with Bluetooth

Deliver, install and set ready for operation