STEINEL DIY Sensor-switched LED outdoor light

L 42 SC

with motion detector & Bluetooth

Dimensions (L x W x H): 105 x 131 x 306 mm;With lamp: Yes, STEINEL LED system;Manufacturer's Warranty: 3 years;Settings via: Bluetooth Mesh;With remote control: No;Version: with motion detector & Bluetooth;PU1, EAN: 4007841085261;Application, place: Outdoors;Application, room: outdoors, front door, all round the building, terrace / balcony;Colour: Anthracite;includes sheet of self-adhesive numbers: No;Package content: 1;Installation site: wall;Impact resistance: IK03;IP-rating: IP54;Protection class: I;Ambient temperature: from -20 up to 40 °C;Housing material: Aluminium;Cover material: Plastic, opal;Mains power supply: 220 – 240 V / 50 – 60 Hz;Output: 13 W;Average rated life expectancy of power supply unit at 25°C: > 60000 h;Mounting height max.: 2,50 m;Slave modeselectable: Yes;Electronic scalability: No;Mechanical scalability: Yes;Reach, radial: r = 4 m (25 m²);Reach, tangential: r = 10 m (157 m²);Photo-cell controller: Yes;Cover material: Cover clips;Luminous flux total product: 889 lm;Measured luminos flux (360°): 889 lm;Colour temperature: 3000 K;Lamp: LED cannot be replaced;Service life LED L70B50 (25°): > 60000 h;Soft light start: Yes;Continuous light: selectable;Functions: Motions sensor, Light sensor;Twilight setting: 2 – 2000 lx;Time setting: 5 sec – 60 min;Basic light level function: Yes;Basic light level function time: 10s-60 min, OFF, Brightness-controlled;Main light adjustable: 5 - 100 %;Twilight setting TEACH: Yes;Interconnection: Yes;Type of interconnection: Master/master, Master/slave;Basic light level function in per cent: 5 – 100 %;Basic light level function percentage, from: 5 %;Basic light level function percentage, up to: 100 %;Interconnection via: Bluetooth Mesh;Colour Rendering Index CRI: = 82;Optimum mounting height: 2 m;Detection angle: 180 °;Product category: Sensor-switched LED outdoor light

Manufacturer Steinel

Prod. No. 085261

Ordering designation L 42 SC with motion detector & Bluetooth

Deliver, install and set ready for operation