STEINEL DIY Outdoor light without sensor

L 835 C

without motion detector, with Bluetooth

Dimensions (L x W x H): 132 x 110 x 110 mm;With lamp: Yes, STEINEL LED system;Manufacturer's Warranty: 3 years;Settings via: Bluetooth Mesh, Smartphone, Tablet;With remote control: No;Version: without motion detector, with Bluetooth;PU1, EAN: 4007841079260;Application, place: Outdoors;Application, room: outdoors, garden, front door, courtyard & driveway, all round the building, terrace / balcony;Colour: Anthracite;includes sheet of self-adhesive numbers: No;Package content: 1;Installation site: wall;Impact resistance: IK03;IP-rating: IP44;Protection class: II;Ambient temperature: from -20 up to 40 °C;Housing material: Plastic;Cover material: Plastic, opal;Mains power supply: 220 – 240 V / 50 – 60 Hz;Output: 9,1 W;Photo-cell controller: No;Luminous flux total product: 616 lm;Measured luminos flux (360°): 616 lm;Total product efficiency: 68 lm/W;Colour temperature: 3000 K;Lamp: LED cannot be replaced;LED life expectancy (max. °C): 50000 h;Service life LED L70B50 (25°): > 60000 h;Base: without;LED cooling system: Passive Thermo Control;Soft light start: No;Continuous light: selectable;Basic light level function: No;Main light adjustable: 0 - 100 %;Twilight setting TEACH: No;Interconnection: Yes;Interconnection via: Bluetooth Mesh;Colour Rendering Index CRI: = 82;Product category: Outdoor light without sensor

Manufacturer Steinel

Prod. No. 079260

Ordering designation L 835 C  without motion detector, with Bluetooth

Deliver, install and set ready for operation