STEINEL DIY Photo-cell-controlled light

LN 1 N

Dimensions (L x W x H): 56 x 300 x 195 mm;With lamp: Yes, STEINEL LED system;Manufacturer's Warranty: 3 years;Settings via: Potentiometers;With remote control: No;PU1, EAN: 4007841649715;Application, place: Outdoors;Application, room: outdoors, front door, all round the building, courtyard & driveway;includes sheet of self-adhesive numbers: Yes;Package content: 1;Installation site: wall, ceiling;Impact resistance: IK07;IP-rating: IP54;Protection class: II;Ambient temperature: from -20 up to 40 °C;Housing material: Plastic;Cover material: Plastic, opal;Mains power supply: 220 – 240 V / 50 – 60 Hz;Output: 4,9 W;Slave modeselectable: No;Sneak-by guard: No;Capability of masking out individual segments: No;Electronic scalability: No;Mechanical scalability: No;Photo-cell controller: Yes;Luminous flux total product: 440 lm;Measured luminos flux (360°): 440 lm;Total product efficiency: 90 lm/W;Colour temperature: 3000 K;Colour variation LED: SDCM3;Lamp: LED cannot be replaced;LED life expectancy (max. °C): 50000 h;Service life LED L70B50 (25°): > 60000 h;Drop in luminous flux in accordance with LM80: L70B10;Base: without;LED cooling system: Passive Thermo Control;Soft light start: No;Twilight setting: 5 – 200 lx;Basic light level function: No;Interconnection: No;Colour Rendering Index CRI: = 82;Product category: Photo-cell-controlled light

Manufacturer Steinel

Prod. No. 649715

Ordering designation LN 1 N

Deliver, install and set ready for operation