STEINEL DIY 24V-Garden LED globe light

Sphera C 24V Starter Set

300 mm

With lamp: Yes, STEINEL LED system;Manufacturer's Warranty: 3 years;Settings via: Bluetooth Mesh;With remote control: No;Version: 300 mm;PU1, EAN: 4007841094829;Application, place: Outdoors;Application, room: outdoors, garden, terrace / balcony;Colour: Anthracite;includes sheet of self-adhesive numbers: No;Package content: 1;Installation site: Floor;Impact resistance: IK07;IP-rating: IP65;Ambient temperature: from -20 up to 40 °C;Housing material: Plastic;Cover material: Plastic, structured;Output: 5,04 W;Average rated life expectancy of power supply unit at 25°C: > 60000 h;Photo-cell controller: Yes;Luminous flux total product: 529 lm;Measured luminos flux (360°): 529 lm;Colour temperature: all colors + 1800-4000 K;Colour variation LED: SDCM3;Lamp: LED cannot be replaced;Service life LED L70B50 (25°): > 60000 h;Continuous light: selectable;Twilight setting: 2 – 2000 lx;Main light adjustable: 10 - 100 %;Twilight setting TEACH: Yes;Interconnection: Yes;Interconnection via: Bluetooth Mesh;Colour Rendering Index CRI: = 84;R9-Farbwiedergabeindex: 11;Product category: 24V-Garden LED globe light;Ausführung des Betriebsgeräts: without sensor, with Bluetooth;Anzahl der Ausgänge: 2;Geeignet für Konstantspannung: Yes;Geeignet für Konstantstrom: No;Ausgangsleistung: 35 W;Ausgangsstrom: 1,45 mA;Ausgangsspannung: 24 V;Cord length: 0.65 m

Manufacturer Steinel

Prod. No. 094829

Ordering designation Sphera C 24V Starter Set 300 mm

Deliver, install and set ready for operation