STEINEL DIY Floodlight without sensor

LS 150

black

Dimensions (L x W x H): 178 x 157 x 178 mm;With lamp: Yes, STEINEL LED system;With motion detector: No;Manufacturer's Warranty: 3 years;Version: black;PU1, EAN: 4007841069216;Application, place: Outdoors;Application, room: garden, front door, courtyard & driveway, multi-storey / underground car park, all round the building, terrace / balcony;Colour: black;Includes corner wall mount: No;Installation site: wall;Installation: Surface wiring, Wall, corner;Impact resistance: IK03;IP-rating: IP44;Protection class: I;Ambient temperature: from -10 up to 30 °C;Housing material: Aluminium;Cover material: Glass transparent;Mains power supply: 220 – 240 V / 50 – 60 Hz;Luminous flux total product: 1375 lm;Measured luminos flux (360°): 1486 lm;Total product efficiency: 94 lm/W;Colour temperature: 4000 K;Colour variation LED: SDCM3;Lamp: LED cannot be replaced;LED life expectancy (max. °C): 50000 h;Service life LED L70B50 (25°): > 36000 h;LED cooling system: Passive Thermo Control;Soft light start: No;Basic light level function: No;Main light adjustable: No;Interconnection: No;Output: 14,7 W;Colour Rendering Index CRI: = 80;Product category: Floodlight without sensor;Energy efficiency class of light source: E

Manufacturer Steinel

Prod. No. 069216

Ordering designation LS 150 black

Deliver, install and set ready for operation