STEINEL DIY LED floodlight without sensor

LS 300

white

Dimensions (L x W x H): 184 x 213 x 218 mm;With lamp: Yes, STEINEL LED system;With motion detector: No;Manufacturer's Warranty: 3 years;Version: white;PU1, EAN: 4007841069247;Application, place: Outdoors;Application, room: outdoors, garden, courtyard & driveway, multi-storey / underground car park, all round the building, terrace / balcony;Colour: white;Includes corner wall mount: No;Installation site: wall;Installation: Wall, Surface wiring;Impact resistance: IK03;IP-rating: IP44;Protection class: I;Ambient temperature: from -10 up to 30 °C;Housing material: Aluminium;Cover material: Glass transparent;Mains power supply: 220 – 240 V / 50 – 60 Hz;Luminous flux total product: 2704 lm;Measured luminos flux (360°): 2962 lm;Total product efficiency: 92 lm/W;Colour temperature: 4000 K;Colour variation LED: SDCM6;Lamp: LED cannot be replaced;LED life expectancy (max. °C): 50000 h;Service life LED L70B50 (25°): > 36000 h;Drop in luminous flux in accordance with LM80: L70B50;LED cooling system: Passive Thermo Control;Soft light start: No;Basic light level function: No;Main light adjustable: No;Interconnection: No;Output: 29,5 W;Colour Rendering Index CRI: = 80;Product category: LED floodlight without sensor;Energy efficiency class of light source: F

Manufacturer Steinel

Prod. No. 069247

Ordering designation LS 300 white

Deliver, install and set ready for operation