STEINEL DIY Sensor-switched LED floodlight

Spot DUO S

with motion detector

Dimensions (L x W x H): 175 x 247 x 98 mm;With lamp: Yes, LED lamp;With motion detector: Yes;Manufacturer's Warranty: 3 years;Settings via: Potentiometers;Version: with motion detector;PU1, EAN: 4007841058647;Application, place: Outdoors;Application, room: outdoors, all round the building, terrace / balcony, courtyard & driveway;Colour: Anthracite;Includes corner wall mount: No;Installation site: wall;Installation: Wall, Surface wiring;Impact resistance: IK03;IP-rating: IP44;Protection class: I;Ambient temperature: from -20 up to 40 °C;Housing material: Aluminium;Cover material: Plastic, transparent;Mains power supply: 220 – 240 V / 50 – 60 Hz;Mounting height max.: 2,50 m;Sneak-by guard: No;Capability of masking out individual segments: No;Electronic scalability: No;Mechanical scalability: No;Reach, radial: r = 2 m (3 m²);Reach, tangential: r = 10 m (79 m²);Photo-cell controller: Yes;Luminous flux total product: 1024 lm;Measured luminos flux (360°): 1024 lm;Total product efficiency: 68,5 lm/W;Colour temperature: 3000 K;Colour variation LED: SDCM5;Lamp: LED can be replaced;Service life LED L70B50 (25°): > 20000 h;Soft light start: No;Continuous light: selectable;Twilight setting: 2 – 1000 lx;Time setting: 8 sec – 35 min;Basic light level function: No;Main light adjustable: No;Twilight setting TEACH: No;Interconnection: Yes;Interconnection via: Cable;Output: 14,95 W;Colour Rendering Index CRI: = 81;Optimum mounting height: 2 m;Detection angle: 90 °;Product category: Sensor-switched LED floodlight

Manufacturer Steinel

Prod. No. 058647

Ordering designation Spot DUO S with motion detector

Deliver, install and set ready for operation