STEINEL DIY Sensor-switched LED floodlight

Spot Garden SC

Sensor Connect

Dimensions (L x W x H): 140 x 69 x 369 mm;With lamp: Yes, LED lamp;With motion detector: Yes;Manufacturer's Warranty: 3 years;Settings via: Bluetooth;Version: Sensor Connect;PU1, EAN: 4007841058685;Application, place: Outdoors;Application, room: outdoors, garden;Colour: Anthracite;Includes corner wall mount: No;Installation site: Ground spike;Installation: Ground spike;Impact resistance: IK03;IP-rating: IP44;Protection class: I;Ambient temperature: from -20 up to 40 °C;Housing material: Aluminium;Cover material: Plastic, transparent;Mains power supply: 220 – 240 V / 50 – 60 Hz;Slave modeselectable: Yes;Sneak-by guard: No;Capability of masking out individual segments: No;Electronic scalability: No;Mechanical scalability: No;Reach, radial: r = 2 m (3 m²);Reach, tangential: r = 10 m (79 m²);Photo-cell controller: Yes;Luminous flux total product: 512 lm;Measured luminos flux (360°): 512 lm;Total product efficiency: 64,8 lm/W;Colour temperature: 3000 K;Colour variation LED: SDCM5;Lamp: LED can be replaced;Service life LED L70B50 (25°): > 20000 h;Soft light start: No;Continuous light: selectable;Functions: Manual ON / ON-OFF, Timer, Master/slave override;Twilight setting: 2 – 2000 lx;Time setting: 5 sec – 60 min;Basic light level function: No;Main light adjustable: No;Twilight setting TEACH: Yes;Interconnection: Yes;Interconnection via: Bluetooth;Output: 7,9 W;Colour Rendering Index CRI: = 81;Detection angle: 90 °;App: STEINEL Connect App;Product category: Sensor-switched LED floodlight

Manufacturer Steinel

Prod. No. 058685

Ordering designation Spot Garden SC Sensor Connect

Deliver, install and set ready for operation