STEINEL DIY LED floodlight without sensor

Spot ONE

without motion detector

Dimensions (L x W x H): 175 x 97 x 98 mm;With lamp: Yes, LED lamp;With motion detector: No;Manufacturer's Warranty: 3 years;Version: without motion detector;PU1, EAN: 4007841058623;Application, place: Outdoors;Application, room: outdoors, all round the building, terrace / balcony, courtyard & driveway;Colour: Anthracite;Includes corner wall mount: No;Installation site: wall;Installation: Wall, Surface wiring;Impact resistance: IK03;IP-rating: IP44;Protection class: I;Ambient temperature: from -20 up to 40 °C;Housing material: Aluminium;Cover material: Plastic, transparent;Mains power supply: 220 – 240 V / 50 – 60 Hz;Mechanical scalability: No;Luminous flux total product: 512 lm;Measured luminos flux (360°): 512 lm;Total product efficiency: 76,4 lm/W;Colour temperature: 3000 K;Colour variation LED: SDCM5;Lamp: LED can be replaced;Service life LED L70B50 (25°): > 20000 h;Soft light start: No;Basic light level function: No;Main light adjustable: No;Interconnection: No;Output: 6,7 W;Colour Rendering Index CRI: = 81;Product category: LED floodlight without sensor

Manufacturer Steinel

Prod. No. 058623

Ordering designation Spot ONE without motion detector

Deliver, install and set ready for operation