STEINEL DIY 24V-Garden LED light

Spot Way SC 24V

with motion detector & Bluetooth

Dimensions (L x W x H): 140 x 226 x 572 mm;With lamp: Yes, STEINEL LED system;Manufacturer's Warranty: 3 years;Settings via: Bluetooth Mesh;With remote control: No;Version: with motion detector & Bluetooth;PU1, EAN: 4007841089320;Application, place: Outdoors;Application, room: outdoors, garden, terrace / balcony;Colour: Anthracite;includes sheet of self-adhesive numbers: No;Package content: 1;Installation site: Floor;IP-rating: IP65;Protection class: III;Ambient temperature: from -20 up to 40 °C;Housing material: Aluminium;Cover material: PC structured;Output: 7,93 W;Average rated life expectancy of power supply unit at 25°C: > 60000 h;Slave modeselectable: Yes;Sneak-by guard: No;Capability of masking out individual segments: No;Electronic scalability: No;Mechanical scalability: No;Reach, radial: r = 2 m (3 m²);Reach, tangential: r = 10 m (79 m²);Luminous flux total product: 363 lm;Measured luminos flux (360°): 363 lm;Colour temperature: all colors + 1800-4000 K;Colour variation LED: SDCM3;Lamp: LED cannot be replaced;Service life LED L70B50 (25°): > 60000 h;Soft light start: Yes;Continuous light: selectable;Functions: DIM function, Motions sensor, Color temperature change, Light sensor, Normal / test mode, Push button configuration;Twilight setting: 2 – 2000 lx;Time setting: 5 sec – 60 min;Basic light level function: Yes;Basic light level function time: 5s-60 min;Main light adjustable: 10 - 100 %;Twilight setting TEACH: Yes;Interconnection: Yes;Basic light level function in per cent: 10 – 100 %;Basic light level function percentage, from: 10 %;Basic light level function percentage, up to: 100 %;Interconnection via: Bluetooth Mesh;R9-Farbwiedergabeindex: 60;Detection angle: 90 °;Product category: 24V-Garden LED light;Ausführung des Betriebsgeräts: with sensor & Bluetooth;Cord length: 0.65 m

Manufacturer Steinel

Prod. No. 089320

Ordering designation Spot Way SC 24V with motion detector & Bluetooth

Deliver, install and set ready for operation