STEINEL DIY LED floodlight without sensor

XLED home 2

graphite V2

Dimensions (L x W x H): 161 x 180 x 181 mm;With lamp: Yes, STEINEL LED system;With motion detector: No;Manufacturer's Warranty: 5 years;Version: graphite;PU1, EAN: 4007841033095;Application, place: Outdoors;Application, room: outdoors, all round the building, terrace / balcony, courtyard & driveway;Colour: Anthracite;Installation site: wall, corner;Installation: Surface wiring, corner, Wall;Impact resistance: IK03;IP-rating: IP44;Protection class: II;Ambient temperature: from -20 up to 40 °C;Housing material: HCMC;Cover material: Plastic, opal;Mains power supply: 220 – 240 V / 50 – 60 Hz;Photo-cell controller: No;Luminous flux total product: 1550 lm;Measured luminos flux (360°): 1550 lm;Total product efficiency: 113 lm/W;Colour temperature: 3000 K;Colour variation LED: SDCM3;Lamp: LED cannot be replaced;LED life expectancy (max. °C): 50000 h;Service life LED L70B50 (25°): > 60000 h;Drop in luminous flux in accordance with LM80: L70B10;LED cooling system: HCMC (High Conductive Magnesium Composite);Output: 13,7 W;Colour Rendering Index CRI: = 82;Product category: LED floodlight without sensor;Energy efficiency class of light source: E

Manufacturer Steinel

Prod. No. 033095

Ordering designation XLED home 2 graphite

Deliver, install and set ready for operation