STEINEL DIY Sensor-switched LED floodlight

XLED home 2 SC

white

Dimensions (L x W x H): 161 x 180 x 218 mm;With lamp: Yes, STEINEL LED system;With motion detector: Yes;Manufacturer's Warranty: 5 years;Settings via: Bluetooth;Version: white;PU1, EAN: 4007841065454;Application, place: Outdoors;Application, room: outdoors, all round the building, terrace / balcony, courtyard & driveway;Colour: white;Includes corner wall mount: No;Installation site: wall, corner;Installation: Surface wiring, corner, Wall;Impact resistance: IK03;IP-rating: IP44;Protection class: II;Ambient temperature: from -20 up to 40 °C;Housing material: HCMC;Cover material: Plastic, opal;Mains power supply: 220 – 240 V / 50 – 60 Hz;Mounting height max.: 4,00 m;Sneak-by guard: Yes;Capability of masking out individual segments: Yes;Reach, radial: r = 5 m (39 m²);Reach, tangential: r = 10 m (157 m²);Photo-cell controller: Yes;Luminous flux total product: 1550 lm;Measured luminos flux (360°): 1550 lm;Colour temperature: 3000 K;Colour variation LED: SDCM3;Lamp: LED cannot be replaced;LED cooling system: HCMC (High Conductive Magnesium Composite);Soft light start: No;Continuous light: selectable;Functions: Group parameterisation, Manual ON / ON-OFF, Neighbouring group function, Master/slave override, Night mode, Timer;Twilight setting: 2 – 1000 lx;Time setting: 5 sec – 60 min;Basic light level function: No;Main light adjustable: No;Twilight setting TEACH: Yes;Interconnection: Yes;Type of interconnection: Master/master, Master/slave;Interconnection via: Bluetooth;Output: 13,8 W;Colour Rendering Index CRI: = 82;Optimum mounting height: 2 m;Detection angle: 180 °;Product category: Sensor-switched LED floodlight;Energy efficiency class of light source: E

Manufacturer Steinel

Prod. No. 065454

Ordering designation XLED home 2 SC white

Deliver, install and set ready for operation