STEINEL DIY Sensor-switched LED floodlight

XLED home 2 XL S

white V2

Dimensions (L x W x H): 161 x 180 x 240 mm;With lamp: Yes, STEINEL LED system;With motion detector: Yes;Manufacturer's Warranty: 5 years;Settings via: Potentiometers;Version: white;PU1, EAN: 4007841030070;Application, place: Outdoors;Application, room: outdoors, all round the building, terrace / balcony, courtyard & driveway;Colour: white;Installation site: wall, corner;Installation: Wall, corner, Surface wiring;IP-rating: IP44;Protection class: II;Ambient temperature: from -20 up to 40 °C;Housing material: Plastic;Cover material: Plastic, opal;Mains power supply: 220 – 240 V / 50 – 60 Hz;Mounting height max.: 4,00 m;Sneak-by guard: Yes;Capability of masking out individual segments: Yes;Electronic scalability: No;Mechanical scalability: No;Reach, radial: r = 5 m (39 m²);Reach, tangential: r = 10 m (157 m²);Photo-cell controller: Yes;Cover material: sticker;Luminous flux total product: 2124 lm;Measured luminos flux (360°): 2124 lm;Total product efficiency: 110 lm/W;Colour temperature: 3000 K;Colour variation LED: SDCM3;Lamp: LED cannot be replaced;LED life expectancy (max. °C): 50000 h;Drop in luminous flux in accordance with LM80: L70B10;LED cooling system: HCMC (High Conductive Magnesium Composite);Twilight setting: 2 – 2000 lx;Time setting: 8 sec – 35 min;Basic light level function: No;Twilight setting TEACH: No;Interconnection: No;Output: 19,3 W;Optimum mounting height: 2 m;Detection angle: 180 °;Product category: Sensor-switched LED floodlight

Manufacturer Steinel

Prod. No. 030070

Ordering designation XLED home 2 XL S white

Deliver, install and set ready for operation