STEINEL DIY Sensor-switched LED floodlight

XLED slim S

Anthracite

Dimensions (L x W x H): 201 x 66 x 241 mm;With lamp: Yes, STEINEL LED system;With motion detector: Yes;Manufacturer's Warranty: 3 years;Settings via: Potentiometers;Version: Anthracite;PU1, EAN: 4007841012052;Application, place: Outdoors;Application, room: outdoors, all round the building, terrace / balcony;Colour: Anthracite;Includes corner wall mount: No;Installation site: wall;Installation: Wall, Surface wiring;Impact resistance: IK03;IP-rating: IP44;Protection class: I;Ambient temperature: from -20 up to 40 °C;Housing material: Aluminium;Cover material: Plastic, transparent;Mains power supply: 220 – 240 V / 50 – 60 Hz;Mounting height max.: 4,00 m;Sneak-by guard: Yes;Capability of masking out individual segments: Yes;Electronic scalability: No;Mechanical scalability: No;Reach, radial: r = 4 m (22 m²);Reach, tangential: r = 8 m (89 m²);Photo-cell controller: Yes;Cover material: sticker;Luminous flux total product: 648 lm;Measured luminos flux (360°): 648 lm;Total product efficiency: 90 lm/W;Colour temperature: 3000 K;Colour variation LED: SDCM3;Lamp: LED cannot be replaced;LED life expectancy (max. °C): 50000 h;Service life LED L70B50 (25°): > 60000 h;Drop in luminous flux in accordance with LM80: L70B10;LED cooling system: Active and Passive Thermo Control;Soft light start: No;Twilight setting: 2 – 1000 lx;Time setting: 2 sec – 70 min;Basic light level function: No;Main light adjustable: No;Interconnection: No;Output: 7,2 W;Colour Rendering Index CRI: = 82;Optimum mounting height: 2,2 m;Detection angle: 160 °;Product category: Sensor-switched LED floodlight;Energy efficiency class of light source: F

Manufacturer Steinel

Prod. No. 012052

Ordering designation XLED slim S Anthracite

Deliver, install and set ready for operation