STEINEL DIY LED floodlight without sensor

XLED Protect

without motion detector - anthracite

Dimensions (L x W x H): 195 x 195 x 174 mm;With lamp: Yes, LED lamp;With motion detector: No;Manufacturer's Warranty: 5 years;Version: without motion detector - anthracite;PU1, EAN: 4007841090029;Application, place: Outdoors;Application, room: garden, front door, courtyard & driveway, all round the building, terrace / balcony;Colour: Anthracite;Includes corner wall mount: No;Installation site: wall, corner;Installation: Wall, Surface wiring;Impact resistance: IK03;IP-rating: IP54;Protection class: II;Ambient temperature: from -20 up to 40 °C;Cover material: Plastic, opal;Mains power supply: 220 – 240 V / 50 – 60 Hz;Photo-cell controller: No;Luminous flux total product: 1642 lm;Measured luminos flux (360°): 1642 lm;Total product efficiency: 121 lm/W;Colour temperature: 3000 K;Lamp: LED cannot be replaced;Service life LED L70B50 (25°): > 60000 h;Soft light start: No;Basic light level function: No;Main light adjustable: No;Interconnection: No;Output: 13,6 W;Colour Rendering Index CRI: = 82;R9-Farbwiedergabeindex: 18;Product category: LED floodlight without sensor;Energy efficiency class of light source: E

Manufacturer Steinel

Prod. No. 090029

Ordering designation XLED Protect without motion detector - anthracite

Deliver, install and set ready for operation