STEINEL DIY Accessory

LED linear lamp for L 260 LED

Dimensions (Ø x H): 36 x 270 mm;With remote control: No;PU1, EAN: 4007841008314;Colour: white;Package content: 1;IP-rating: IP20;Housing material: Plastic;Mains power supply: 230 – 240 V;Output: 9,21 W;Measured luminos flux (360°): 927 lm;Colour temperature: 3000 K;Base: E27;Colour Rendering Index CRI: = 82;Product category: Accessory;Energy efficiency class of light source: F

Manufacturer Steinel

Prod. No. 008314

Ordering designation LED linear lamp for L 260 LED

Deliver, install and set ready for operation